## Slide 1
MATLAB
Arduino
Nellcor Probe
Transimpedance Amplifier
RC Low-Pass Filter
RC High-Pass Filter + DC Bias
Active Gain
LED drive commands
PWM LED drive voltage
Photodiode current
Conditioned PPG voltage
Digitalized PPG
Tissue optical path (finger)
Amplified PPG voltage
LPF’d PPG voltage
HPF’d + offset PPG voltage
USB Serial: Host Tx
USB Serial: Device Rx
PWM
ADC
USB Serial: Device Tx
USB Serial: Host Rx

## Slide 2: Sections
Hardware Front-End
  Schematic & explanations
  Filter and amplification calculations (cutoff frequencies, etc.)
  Oscilloscope waveforms
MCU Acquisition & Serial Protocol
  LED drive command packets (MATLAB -> Arduino) and decoding
  PPG data packets (Arduino -> MATLAB) and decoding
Digital Signal Processing
  Butterworth filtering, DC baseline estimation, AC amplitude estimation, R calculation, SpO2 estimate
Graphical User Interface
  Live data visualization, customizable parameters, DSP visualization, live R and SpO2 estimates, console

## Slide 3
Complete Schematic

## Slide 4
Transimpedance Amplifier + Light Low-Pass Filter

## Slide 5
Passive Low-Pass Filter

## Slide 6
After filtering, the output will be centered around VBIAS
Passive High-Pass Filter + DC Bias

## Slide 7
Active Gain + Low-Pass Filter

## Slide 8
MATLAB
Arduino
LED drive command packets
USB Serial: Host Tx
USB Serial: Device Rx
MATLAB → Arduino Serial Communication Protocol
packet = [0xAA, 0x01, 0x06, 0x01, 0xB8, 0x0B, 0xE8, 0x03, 0x46, 0xF5, 0x55]
Start Byte
ID
Payload Length
LED
LSB
MSB
Duration
LSB
MSB
Deadtime
Intensity
Checksum
End Byte
Payload
“Turn on the red LED for a duration of 3000 ms using a deadtime of 1000 ms and intensity 70”

## Slide 9
MATLAB → Arduino Serial Communication Protocol
function packet = buildPacket(command, whichLed, duration, deadtime, intensity)
  % buildLedPacket Constructs a command packet for the Nellcor probe LED.
  %
  % Inputs:
  % duration - Duration in milliseconds (0–65535)
  % whichLed - 0: OFF, 1: RED ON, 2: IR ON
  % intensity - LED intensity (0–255)
  %
  % Output:
  % packet - 1x11 uint8 array ready to send via serial
  startByte = uint8(170); % 0xAA
  endByte = uint8(85); % 0x55
  durationBytes = typecast(uint16(duration), 'uint8'); % little-endian
  deadtimeBytes = typecast(uint16(deadtime), 'uint8’); % little-endian
  payload = [uint8(whichLed), durationBytes, deadtimeBytes, uint8(intensity)];
  lengthPayload = uint8(numel(payload));
  checksum = uint8(mod(sum(payload), 256));
  packet = [startByte, command, lengthPayload, payload, checksum, endByte];
end

## Slide 10
MATLAB
Arduino
USB Serial: Host Rx
USB Serial: Device Tx
MATLAB ← Arduino Serial Communication Protocol
packet = [0xAA, 0x02, 0xF4, 0x01, 0xF1, 0x07, 0x00, 0x00, 0xEE, 0x55]
Start Byte
LED
LSB
MSB
Value
LSB
MSB
Timestamp
Checksum
End Byte
Payload
“The IR LED produced a value of 500 at a timestamp of 2033 ms”
Digitalized PPG packets

## Slide 11
MATLAB ← Arduino Serial Communication Protocol
void sendPacket(uint8_t encoding, uint16_t value, uint32_t timestamp) {
  uint8_t start = 0xAA, end = 0x55;
  uint8_t vBytes[2]; // initialize value array
  uint8_t tBytes[4]; // initialize time array
  memcpy(vBytes, &value, 2); // pull from memory + bitshift (little-endian style)
  memcpy(tBytes, &timestamp, 4); // pull from memory + bitshift
  uint8_t checksum = (encoding + vBytes[0] + vBytes[1] +
  tBytes[0] + tBytes[1] + tBytes[2] + tBytes[3]) % 256;
  Serial.write(start);
  Serial.write(encoding);
  Serial.write(vBytes, 2);
  Serial.write(tBytes, 4);
  Serial.write(checksum);
  Serial.write(end);
}

## Slide 12
Hardware Front-End
MCU Acquisition
Digitalized PPG Packets
LED Drive Command Packets
ADC

## Slide 13
Hardware Front-End
MCU Acquisition
Digitalized PPG Packets
LED Drive Command Packets
ADC

## Slide 14
Hardware Front-End
MCU Acquisition
Digitalized PPG Packets
LED Drive Command Packets
ADC

## Slide 15
Butterworth LPF
Butterworth LPF
0.5 Hz
Digitalized PPG
Median
Peak-Trough Detection
Max
AC/DC ratio
Pulsatile (AC) Component
Constant (DC) Component
AC
AC
DC
Digitally-filtered PPG